Work orders following high risk detection: '273496284', ‘279323105’, ‘273396632’

273496284: High Risk detection 7 days before the following report: CMP - Critical - Penn Mill Lakes Lift Station - station failed to turn on auto, causing wet well to fill up. Will need to manually pump down while monitoring plant, blanket. Need Electrician to perform electrical inspection on control panel to determine what’s going on and fix the problem.

279323105: High Risk detection 7 days before the following report:Check valve on raw side of well, before chemical injection is not working.

273396632: High Risk detection 10 days before the following report: PM - Critical - Bel Aire System/ Water Storage Tanks -- During flushing activities performed by DEnglish in 04/19/2023, a concerning amount of sand was found in several dead-end lines on the Meadows distribution system; it was approved with CSWR to schedule a tank inspection; due to ongoing problems with the Meadows Well & delay in approval of needed repairs prior to using the well, the tank inspection could not be scheduled until 09/2024; Stephens Tank will be inspecting & cleaning the tanks at earliest possible schedule date

length(which(all\_data[,'WorkOrderID'] == '273496284'))

[1] 26580

A graph showing a number of points

AI-generated content may be incorrect.

A graph showing a number of numbers

AI-generated content may be incorrect.

A graph with a line

AI-generated content may be incorrect.

A barcode diagram with numbers

AI-generated content may be incorrect.A graph of a graph

AI-generated content may be incorrect.A graph showing a graph

AI-generated content may be incorrect.

A screenshot of a graph

AI-generated content may be incorrect.

279323105A barcode with numbers

AI-generated content may be incorrect.

A barcode with text

AI-generated content may be incorrect.

A graph with a line going up

AI-generated content may be incorrect.

A bar graph with numbers and text

AI-generated content may be incorrect.

A graph with blue lines

AI-generated content may be incorrect.

A graph with a line

AI-generated content may be incorrect.

A graph with blue lines

AI-generated content may be incorrect.

A barcode with numbers

AI-generated content may be incorrect.A barcode with numbers and a graph

AI-generated content may be incorrect.A barcode with numbers and text

AI-generated content may be incorrect.A graph of a sound wave

AI-generated content may be incorrect.

A bar code with blue lines

AI-generated content may be incorrect.

A graph with a line

AI-generated content may be incorrect.A graph of a line

AI-generated content may be incorrect.

A graph with blue and white lines

AI-generated content may be incorrect.A graph with a line

AI-generated content may be incorrect.

A blue sound wave on a white background

AI-generated content may be incorrect.

A bar code with blue lines

AI-generated content may be incorrect.

A screenshot of a graph

AI-generated content may be incorrect.